## Slide 1
Instrument: Side-by-side RGB and radiometer from nadir perspective
Use the system to estimate:
Fireline intensity (I, kW/m) – need rate of spread, fuel consumption (from radiometer), and a constant heat of combustion (Robertson’s paper). I = (ROS*consumption*heat of combustion)
Reaction intensity (IR, kW/m2) – need fireline intensity and flame front depth. IR = (Fireline intensity/Flame front depth)
Instrument: Side-by-side infrared camera and radiometer from nadir perspective
Use the system as an alternative (a) way to estimate:
Reaction intensity (IRa, kW/m2) – it is peak total flame front fire flux density (FFDFF) from radiometer divided by fire fractional area estimated using infrared imagery
Fireline intensity (Ia, kW/m) – it is IRa multipled by flame front area and divided by flame front length

## Slide 2
A
B
B
Flame front
Radiometer area of regard
Infrared camera area of regard
C
A – flame-front area in radiometer AOR
C – flame-front area in IR camera AOR
C
C
B – area outside of flame-front in radiometer AOR
Average flame front depth (D) from infrared imagery
Flame front length
~A
~B
~B
=
f – fractional fire area
Fractional fire area
r – radiometer FOV radius
r

## Slide 3
Flame front
Radiometer area of regard
Infrared camera area of regard
Peak flame front Fire Radiated Flux Density
FRFDFF – Flame front FRFD (kW/m2)
FFDFF – total flame front Fire Flux Density (kW/m2)
FR – radiated fraction*
Peak total flame front Fire Flux Density
f – fractional fire area
A – flame-front area in radiometer AOR
C – flame-front area in IR camera AOR
B – area outside of flame-front in radiometer AOR
Average flame front depth (D)
~A
~B
~B
=
f – fractional fire area
Fractional fire area
Reaction intensity
I think that’s it
r
FRFD – peak fire radiated flux density (kW/m2) from radiometer
*Do we have to do the entire
left hand side of the heat budget?

## Slide 4
Flame front
Radiometer area of regard
Infrared camera area of regard
A – flame-front area in radiometer AOR
C – flame-front area in IR camera AOR
B – area outside of flame-front in radiometer AOR
Average flame front depth from IR camera (D)
C
C
C
Fireline intensity (Alternative) (Ia)
Calibrating infrared imaging camera at peak digital number (DN)*
FFDFFcal – calibrated total flame front fire flux density per pixel (kW/m2)
Ccal – calibration coefficient (fire flux density per pixel DN)
C – flame front area in the infrared (m2). From thresholding?
Ia – alternative fireline intensity (kW/m)
Flame front length (L)
*In case its needed
Ap – pixel area (m2)
AR – reference area = 1 m2

## Slide 5
List:
Matt – send Ed the radiometer area of regard, look at radiometer data
Imaging wishlist
1. NIR filter on visible (Kodak #25 far red??) – should better delineate flame front and avoid smoke interference that’s so visible in the blue
2. Put a K-line emission filter on a Black & White camera – specific for hot parts of flames (active oxidation)